{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":21,"n_cols":4,"rows_kept":21,"merged":[[0,0,0,3],[2,0,5,0],[6,0,12,0],[13,0,14,0],[15,0,16,0],[18,0,18,1],[19,0,19,1],[20,0,20,3]],"flags":["formulas_cached_only"]}
["南平市第二医院一键报警装置安装点位"]
["楼栋","科室","数量","点位"]
["急诊楼","急诊科",3,"抢1、抢2、护士站"]
[null,"呼吸内科",1,"护士站"]
[null,"儿科门诊",1,"护士站"]
[null,"信息科",1,"复印区"]
["门诊楼","导诊台",5,"1-5层导诊台"]
[null,"中药房",1,"登记处"]
[null,"检验科",2,"抽血室、4号窗口"]
[null,"妇产科门诊",3,"产检室、主任门诊各1"]
[null,"超声科",2,"5号、7号诊室"]
[null,"口腔科",5,"2号诊室、种植室、大诊室3个"]
[null,"办公室",1,"办公室"]
["体检综合楼","体检站",1,"护士站"]
[null,"病理科",1,"工作站"]
["内科楼","肾内科",1,"护士站"]
[null,"血透室",1,"护士站"]
["行政楼","医务科",1,"办公室"]
["合计点位",null,30]
["报警求助主机",null,1,"保卫科办公室（与公安机关通联）"]
["备注：以上科室一键报警数量及安装点位采用有线安装"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}